## Slide 1: IDT INTERIM PRESENTATION SURFACE PROFILOMETER TEAM MEMBERS: NICOLE MURRAY, NIALL LINNANE, MARK ROE

## Slide 2: SURFACE PROFILOMETER

## Slide 3
Purpose

## Slide 4
Method

## Slide 5
METHOD

## Slide 6
Current Progress

## Slide 7: Cantilever & Strain Gauges
Figure (7) – Actual Cantilever

## Slide 8: Calibration

## Slide 9: Calibration

## Slide 10: Deflection Calculation

## Slide 11: LabView Code

## Slide 12: The Stepper Motors
Nema-17 stepper motor wiring diagram [2]

## Slide 13: LabView Code
Stepper motor code built from lab 8 code [7]

## Slide 14: Calibration

## Slide 15: Calibration Equation
xmm ÷ 0.2 = step
0.2mm/step

## Slide 16: Z-Axis Control
NEMA 17 stepper motor
L293D Driver chip
1.8 degrees per step = .04mm/step linear motion

## Slide 17: Z-Axis Control
Laser reflection system
Stops z-axis motor
Seen here is the laser centred on the photodiode

## Slide 18: Laser Reflection System
Photodiode Voltage is compared with Threshold voltage
If stop condition is met the loop condition is set to stop
Raster scanning can now commence

## Slide 19
Current Timeline

## Slide 21: THANK YOU FOR LISTENING

## Slide 22: References
[1]Oxford Instruments: https://raman.oxinst.com/techniques/scanning-probe-microscopy
[2]Nema-17 stepper motor data sheet, SIMAC Electronics GmbH:
https://joy-it.net/files/files/Produkte/NEMA17-06/NEMA17-06_Datasheet.pdf
[3]Creality,Ender-3 printer:
https://www.creality3dofficial.eu/products/creality-ender-3-3d-printer?gad_source=1&gclid=Cj0KCQiAwtu9BhC8ARIsAI9JHanTq4RzDzUEHRzluuD1g7rLxMAnzTBQp7xI-lUwHGvFyjiFxP5Dam8aApReEALw_wcB
[4] L293D driver chip, Texas Instruments:
https://www.ti.com/lit/ds/symlink/l293.pdf
[5]Texas Instruments, INA122 Data Sheet:
https://www.ti.com/lit/ds/symlink/ina122.pdf?ts=1740051633788&ref_url=https%253A%252F%252Fwww.google.com%252F

## Slide 23: References
[6]Radionics, RS PRO Data Sheet:
https://docs.rs-online.com/7b45/A700000008880707.pdf
[7]Lab 8 stepper motor code, Brian Ashall:
https://vlegalwaymayo.atu.ie/mod/resource/view.php?id=1115347

## Slide 24
Appendix

## Slide 25: Stepper Motor Coils
The pin to coil connection

## Slide 26: L293D-Driver Chip

## Slide 27: Extra Specifications
Instrumentation Amplifier
- INA122P
G = 5-10,000V/V
CMRR 96dB
Strain Gauges
- RS PRO Wire Lead SG
120
2.5 / 5mm

## Slide 28: LabVIEW Code